## scenario
Year | Solar Num of Units (primary) | Solar Rating of Unit | Solar Total Capacity | Wind Num of Units (primary) | Wind Rating of Unit | Wind Total Capacity | Gas Generator Num of Units (primary) | Gas Generator Rating of Unit | Gas Generator Total Capacity | HFO Generator Num of Units (primary) | HFO Generator Rating of Unit | HFO Generator Total Capacity | HFO+Gas Generator Num of Units (primary) | HFO+Gas Generator Rating of Unit | HFO+Gas Generator Total Capacity | Grid Num of Units (primary) | Grid Rating of Unit | Grid Total Capacity | Diesel Generator Num of Units (primary) | Diesel Generator Rating of Unit | Diesel Generator Total Capacity | BESS Num of Units (primary) | BESS Rating of Unit | BESS Total Capacity
0 | 1 | 2 | 2 | 0 | 0 | 0 | 1 | 1.5 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 4.5 | 4.5 | 0 | 0 | 0 | 0 | 0 | 0
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1.5 | 1.5 | 1 | 1.5 | 1.5 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0.5 | 1.5
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## power
year | month | hour | Prod Demand in MW | Cooling demand in TR | Free Cooling available in TR | BESS Charging Demand | Total power demand incl. Cooling & BESS in MW | Solar Output in MW | Solar Loading in % | Gas Generator Output in MW | Gas Generator Loading in % | HFO Generator Output in MW | HFO Generator Loading in % | HFO+Gas Generator Output in MW | HFO+Gas Generator Loading in % | Grid Output in MW | Grid Loading in % | Diesel Generator Output in MW | Diesel Generator Loading in % | Final Unserved Load
1 | 1 | 1 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 1 | 2 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 1 | 3 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 1 | 4 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 1 | 5 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 1 | 6 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 1 | 7 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 1 | 8 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.043648 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.76914 | 17.0919 | 0 | 0 | 0
1 | 1 | 9 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.47616 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.33662 | 7.4805 | 0 | 0 | 0
1 | 1 | 10 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.87891 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.4339 | 95.5915 | 0 | 0 | 0 | 0 | 0
1 | 1 | 11 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.1825 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.1303 | 75.3547 | 0 | 0 | 0 | 0 | 0
1 | 1 | 12 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.3789 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.9339 | 62.2603 | 0 | 0 | 0 | 0 | 0
1 | 1 | 13 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.4523 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.8605 | 57.3664 | 0 | 0 | 0 | 0 | 0
1 | 1 | 14 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.3967 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.91605 | 61.0699 | 0 | 0 | 0 | 0 | 0
1 | 1 | 15 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.2241 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.0887 | 72.5771 | 0 | 0 | 0 | 0 | 0
1 | 1 | 16 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.93446 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.3783 | 91.888 | 0 | 0 | 0 | 0 | 0
1 | 1 | 17 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.56346 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.24933 | 5.5406 | 0 | 0 | 0
1 | 1 | 18 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.07936 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.73342 | 16.2983 | 0 | 0 | 0
1 | 1 | 19 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 1 | 20 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 1 | 21 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 1 | 22 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 1 | 23 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 1 | 24 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 2 | 1 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 2 | 2 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 2 | 3 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 2 | 4 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 2 | 5 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 2 | 6 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 2 | 7 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 2 | 8 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.071424 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.74136 | 16.4747 | 0 | 0 | 0
1 | 2 | 9 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.51981 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.29298 | 6.5106 | 0 | 0 | 0
1 | 2 | 10 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.92256 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.3902 | 92.6816 | 0 | 0 | 0 | 0 | 0
1 | 2 | 11 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.238 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.0748 | 71.6512 | 0 | 0 | 0 | 0 | 0
1 | 2 | 12 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.4503 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.86248 | 57.4987 | 0 | 0 | 0 | 0 | 0
1 | 2 | 13 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.5336 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.77915 | 51.9435 | 0 | 0 | 0 | 0 | 0
1 | 2 | 14 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.494 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.81883 | 54.5888 | 0 | 0 | 0 | 0 | 0
1 | 2 | 15 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.3293 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.9835 | 65.567 | 0 | 0 | 0 | 0 | 0
1 | 2 | 16 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.0555 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.2573 | 83.8198 | 0 | 0 | 0 | 0 | 0
1 | 2 | 17 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.68845 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.12434 | 2.763 | 0 | 0 | 0
1 | 2 | 18 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.18054 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.63224 | 14.0498 | 0 | 0 | 0
1 | 2 | 19 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 2 | 20 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 2 | 21 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 2 | 22 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 2 | 23 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 2 | 24 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 3 | 1 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 3 | 2 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 3 | 3 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 3 | 4 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 3 | 5 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 3 | 6 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 3 | 7 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.001984 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.8108 | 18.0178 | 0 | 0 | 0
1 | 3 | 8 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.16467 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.64811 | 14.4025 | 0 | 0 | 0
1 | 3 | 9 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.59718 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.2156 | 4.7911 | 0 | 0 | 0
1 | 3 | 10 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.98406 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.3287 | 88.5814 | 0 | 0 | 0 | 0 | 0
1 | 3 | 11 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.2737 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.0391 | 69.2704 | 0 | 0 | 0 | 0 | 0
1 | 3 | 12 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.4741 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.83867 | 55.9115 | 0 | 0 | 0 | 0 | 0
1 | 3 | 13 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.5495 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.76328 | 50.8854 | 0 | 0 | 0 | 0 | 0
1 | 3 | 14 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.5138 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.79899 | 53.2662 | 0 | 0 | 0 | 0 | 0
1 | 3 | 15 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.3114 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.0014 | 66.7574 | 0 | 0 | 0 | 0 | 0
1 | 3 | 16 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.0396 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.2732 | 84.8779 | 0 | 0 | 0 | 0 | 0
1 | 3 | 17 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.68051 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.13227 | 2.9394 | 0 | 0 | 0
1 | 3 | 18 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.25594 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.55685 | 12.3744 | 0 | 0 | 0
1 | 3 | 19 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.001984 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.8108 | 18.0178 | 0 | 0 | 0
1 | 3 | 20 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 3 | 21 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 3 | 22 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 3 | 23 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 3 | 24 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 4 | 1 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 4 | 2 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 4 | 3 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 4 | 4 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 4 | 5 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 4 | 6 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 4 | 7 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.02976 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.78302 | 17.4005 | 0 | 0 | 0
1 | 4 | 8 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.28768 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.5251 | 11.669 | 0 | 0 | 0
1 | 4 | 9 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.66266 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.15013 | 3.3362 | 0 | 0 | 0
1 | 4 | 10 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.0079 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.3049 | 86.9942 | 0 | 0 | 0 | 0 | 0
1 | 4 | 11 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.2678 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.045 | 69.6672 | 0 | 0 | 0 | 0 | 0
1 | 4 | 12 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.4265 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.88629 | 59.0859 | 0 | 0 | 0 | 0 | 0
1 | 4 | 13 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.4761 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.83669 | 55.7792 | 0 | 0 | 0 | 0 | 0
1 | 4 | 14 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.4027 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.9101 | 60.6731 | 0 | 0 | 0 | 0 | 0
1 | 4 | 15 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.2261 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.0867 | 72.4448 | 0 | 0 | 0 | 0 | 0
1 | 4 | 16 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.95232 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.3605 | 90.6976 | 0 | 0 | 0 | 0 | 0
1 | 4 | 17 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.62298 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.18981 | 4.218 | 0 | 0 | 0
1 | 4 | 18 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.26189 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.5509 | 12.2421 | 0 | 0 | 0
1 | 4 | 19 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.01984 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.79294 | 17.621 | 0 | 0 | 0
1 | 4 | 20 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 4 | 21 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 4 | 22 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 4 | 23 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 4 | 24 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 5 | 1 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 5 | 2 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 5 | 3 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 5 | 4 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 5 | 5 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 5 | 6 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 5 | 7 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.071424 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.74136 | 16.4747 | 0 | 0 | 0
1 | 5 | 8 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.31744 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.49534 | 11.0077 | 0 | 0 | 0
1 | 5 | 9 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.64678 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.166 | 3.6889 | 0 | 0 | 0
1 | 5 | 10 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.95629 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.3565 | 90.4331 | 0 | 0 | 0 | 0 | 0
1 | 5 | 11 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.1904 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.1224 | 74.8256 | 0 | 0 | 0 | 0 | 0
1 | 5 | 12 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.3352 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.97755 | 65.1702 | 0 | 0 | 0 | 0 | 0
1 | 5 | 13 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.3749 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.93787 | 62.5248 | 0 | 0 | 0 | 0 | 0
1 | 5 | 14 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.3055 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.0073 | 67.1542 | 0 | 0 | 0 | 0 | 0
1 | 5 | 15 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.1388 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.174 | 78.2646 | 0 | 0 | 0 | 0 | 0
1 | 5 | 16 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.88685 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.4259 | 95.0624 | 0 | 0 | 0 | 0 | 0
1 | 5 | 17 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.57536 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.23742 | 5.2761 | 0 | 0 | 0
1 | 5 | 18 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.26586 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.54693 | 12.154 | 0 | 0 | 0
1 | 5 | 19 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.037696 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.77509 | 17.2242 | 0 | 0 | 0
1 | 5 | 20 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 5 | 21 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 5 | 22 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 5 | 23 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 5 | 24 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 6 | 1 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 6 | 2 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 6 | 3 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 6 | 4 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 6 | 5 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 6 | 6 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 6 | 7 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.06944 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.74334 | 16.5188 | 0 | 0 | 0
1 | 6 | 8 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.26189 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.5509 | 12.2421 | 0 | 0 | 0
1 | 6 | 9 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.53766 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.27512 | 6.1138 | 0 | 0 | 0
1 | 6 | 10 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.82138 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.4914 | 99.4272 | 0 | 0 | 0 | 0 | 0
1 | 6 | 11 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.0456 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.2672 | 84.4811 | 0 | 0 | 0 | 0 | 0
1 | 6 | 12 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.1805 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.1323 | 75.487 | 0 | 0 | 0 | 0 | 0
1 | 6 | 13 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.236 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.0768 | 71.7835 | 0 | 0 | 0 | 0 | 0
1 | 6 | 14 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.1785 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.1343 | 75.6192 | 0 | 0 | 0 | 0 | 0
1 | 6 | 15 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.0277 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.2851 | 85.6715 | 0 | 0 | 0 | 0 | 0
1 | 6 | 16 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.81344 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.4993 | 99.9563 | 0 | 0 | 0 | 0 | 0
1 | 6 | 17 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.54362 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.26917 | 5.9815 | 0 | 0 | 0
1 | 6 | 18 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.26784 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.54494 | 12.1099 | 0 | 0 | 0
1 | 6 | 19 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.055552 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.75723 | 16.8274 | 0 | 0 | 0
1 | 6 | 20 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 6 | 21 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 6 | 22 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 6 | 23 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 6 | 24 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 7 | 1 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 7 | 2 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 7 | 3 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 7 | 4 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 7 | 5 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 7 | 6 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 7 | 7 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.037696 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.77509 | 17.2242 | 0 | 0 | 0
1 | 7 | 8 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.19443 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.61835 | 13.7412 | 0 | 0 | 0
1 | 7 | 9 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.42259 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.39019 | 8.6709 | 0 | 0 | 0
1 | 7 | 10 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.66861 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.14418 | 3.2039 | 0 | 0 | 0
1 | 7 | 11 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.87494 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.4378 | 95.856 | 0 | 0 | 0 | 0 | 0
1 | 7 | 12 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.0218 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.291 | 86.0683 | 0 | 0 | 0 | 0 | 0
1 | 7 | 13 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.0753 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.2375 | 82.4971 | 0 | 0 | 0 | 0 | 0
1 | 7 | 14 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.0416 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.2712 | 84.7456 | 0 | 0 | 0 | 0 | 0
1 | 7 | 15 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.92256 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.3902 | 92.6816 | 0 | 0 | 0 | 0 | 0
1 | 7 | 16 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.71821 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.094576 | 2.1017 | 0 | 0 | 0
1 | 7 | 17 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.48211 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.33067 | 7.3483 | 0 | 0 | 0
1 | 7 | 18 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.24602 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.56677 | 12.5949 | 0 | 0 | 0
1 | 7 | 19 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.057536 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.75525 | 16.7833 | 0 | 0 | 0
1 | 7 | 20 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 7 | 21 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 7 | 22 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 7 | 23 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 7 | 24 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 8 | 1 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 8 | 2 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 8 | 3 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 8 | 4 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 8 | 5 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 8 | 6 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 8 | 7 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.021824 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.79096 | 17.5769 | 0 | 0 | 0
1 | 8 | 8 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.20038 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.6124 | 13.6089 | 0 | 0 | 0
1 | 8 | 9 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.46029 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.3525 | 7.8333 | 0 | 0 | 0
1 | 8 | 10 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.72813 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.084656 | 1.8813 | 0 | 0 | 0
1 | 8 | 11 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.95232 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.3605 | 90.6976 | 0 | 0 | 0 | 0 | 0
1 | 8 | 12 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.1051 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.2077 | 80.5131 | 0 | 0 | 0 | 0 | 0
1 | 8 | 13 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.1686 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.1442 | 76.2806 | 0 | 0 | 0 | 0 | 0
1 | 8 | 14 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.113 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.1998 | 79.984 | 0 | 0 | 0 | 0 | 0
1 | 8 | 15 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.98208 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.3307 | 88.7136 | 0 | 0 | 0 | 0 | 0
1 | 8 | 16 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.75987 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.052912 | 1.1758 | 0 | 0 | 0
1 | 8 | 17 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.496 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.31678 | 7.0397 | 0 | 0 | 0
1 | 8 | 18 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.22816 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.58462 | 12.9917 | 0 | 0 | 0
1 | 8 | 19 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.027776 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.78501 | 17.4446 | 0 | 0 | 0
1 | 8 | 20 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 8 | 21 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 8 | 22 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 8 | 23 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 8 | 24 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 9 | 1 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 9 | 2 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 9 | 3 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 9 | 4 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 9 | 5 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 9 | 6 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 9 | 7 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.017856 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.79493 | 17.6651 | 0 | 0 | 0
1 | 9 | 8 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.25792 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.55486 | 12.3303 | 0 | 0 | 0
1 | 9 | 9 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.61504 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.19774 | 4.3943 | 0 | 0 | 0
1 | 9 | 10 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.9424 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.3704 | 91.359 | 0 | 0 | 0 | 0 | 0
1 | 9 | 11 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.1904 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.1224 | 74.8256 | 0 | 0 | 0 | 0 | 0
1 | 9 | 12 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.3452 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.96763 | 64.5088 | 0 | 0 | 0 | 0 | 0
1 | 9 | 13 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.3908 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.922 | 61.4667 | 0 | 0 | 0 | 0 | 0
1 | 9 | 14 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.3114 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.0014 | 66.7574 | 0 | 0 | 0 | 0 | 0
1 | 9 | 15 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.117 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.1958 | 79.7195 | 0 | 0 | 0 | 0 | 0
1 | 9 | 16 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.85709 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.4557 | 97.0464 | 0 | 0 | 0 | 0 | 0
1 | 9 | 17 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.52378 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.28901 | 6.4224 | 0 | 0 | 0
1 | 9 | 18 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.17062 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.64216 | 14.2702 | 0 | 0 | 0
1 | 9 | 19 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.001984 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.8108 | 18.0178 | 0 | 0 | 0
1 | 9 | 20 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 9 | 21 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 9 | 22 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 9 | 23 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 9 | 24 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 10 | 1 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 10 | 2 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 10 | 3 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 10 | 4 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 10 | 5 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 10 | 6 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 10 | 7 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 10 | 8 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.27181 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.54098 | 12.0217 | 0 | 0 | 0
1 | 10 | 9 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.72614 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.08664 | 1.9253 | 0 | 0 | 0
1 | 10 | 10 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.0753 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.2375 | 82.4971 | 0 | 0 | 0 | 0 | 0
1 | 10 | 11 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.3273 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.98549 | 65.6992 | 0 | 0 | 0 | 0 | 0
1 | 10 | 12 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.4721 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.84066 | 56.0438 | 0 | 0 | 0 | 0 | 0
1 | 10 | 13 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.4959 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.81685 | 54.4566 | 0 | 0 | 0 | 0 | 0
1 | 10 | 14 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.3789 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.9339 | 62.2603 | 0 | 0 | 0 | 0 | 0
1 | 10 | 15 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.1567 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.1561 | 77.0742 | 0 | 0 | 0 | 0 | 0
1 | 10 | 16 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.84717 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.4656 | 97.7078 | 0 | 0 | 0 | 0 | 0
1 | 10 | 17 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.47418 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.33861 | 7.5246 | 0 | 0 | 0
1 | 10 | 18 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.061504 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.75128 | 16.6951 | 0 | 0 | 0
1 | 10 | 19 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 10 | 20 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 10 | 21 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 10 | 22 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 10 | 23 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 10 | 24 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 11 | 1 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 11 | 2 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 11 | 3 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 11 | 4 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 11 | 5 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 11 | 6 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 11 | 7 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 11 | 8 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.1607 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.65208 | 14.4907 | 0 | 0 | 0
1 | 11 | 9 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.65274 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.16005 | 3.5566 | 0 | 0 | 0
1 | 11 | 10 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.0218 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.291 | 86.0683 | 0 | 0 | 0 | 0 | 0
1 | 11 | 11 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.2777 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.0351 | 69.0059 | 0 | 0 | 0 | 0 | 0
1 | 11 | 12 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.4186 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.89422 | 59.615 | 0 | 0 | 0 | 0 | 0
1 | 11 | 13 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.4324 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.88034 | 58.6891 | 0 | 0 | 0 | 0 | 0
1 | 11 | 14 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.3332 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.97954 | 65.3024 | 0 | 0 | 0 | 0 | 0
1 | 11 | 15 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.111 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.2017 | 80.1163 | 0 | 0 | 0 | 0 | 0
1 | 11 | 16 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.79757 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.015216 | 0.33814 | 0 | 0 | 0
1 | 11 | 17 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.3472 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.46558 | 10.3463 | 0 | 0 | 0
1 | 11 | 18 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 11 | 19 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 11 | 20 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 11 | 21 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 11 | 22 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 11 | 23 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 11 | 24 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 12 | 1 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 12 | 2 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 12 | 3 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 12 | 4 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 12 | 5 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 12 | 6 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 12 | 7 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 12 | 8 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.065472 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.74731 | 16.6069 | 0 | 0 | 0
1 | 12 | 9 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.54163 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.27115 | 6.0256 | 0 | 0 | 0
1 | 12 | 10 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.92653 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.3863 | 92.4171 | 0 | 0 | 0 | 0 | 0
1 | 12 | 11 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.2023 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.1105 | 74.032 | 0 | 0 | 0 | 0 | 0
1 | 12 | 12 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.3709 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.94184 | 62.7894 | 0 | 0 | 0 | 0 | 0
1 | 12 | 13 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.4166 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.89621 | 59.7472 | 0 | 0 | 0 | 0 | 0
1 | 12 | 14 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.3313 | 100 | 1.4775 | 100 | 1.5 | 100 | 0.98152 | 65.4347 | 0 | 0 | 0 | 0 | 0
1 | 12 | 15 | 5 | 900 | 517.1513 | 0 | 5.2903 | 1.1269 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.1859 | 79.0582 | 0 | 0 | 0 | 0 | 0
1 | 12 | 16 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.8313 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.4815 | 98.7659 | 0 | 0 | 0 | 0 | 0
1 | 12 | 17 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.38291 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.42987 | 9.5527 | 0 | 0 | 0
1 | 12 | 18 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0.003968 | 100 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.80882 | 17.9737 | 0 | 0 | 0
1 | 12 | 19 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 12 | 20 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 12 | 21 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 12 | 22 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 12 | 23 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0
1 | 12 | 24 | 5 | 900 | 517.1513 | 0 | 5.2903 | 0 | 0 | 1.4775 | 100 | 1.5 | 100 | 1.5 | 100 | 0.81278 | 18.0619 | 0 | 0 | 0

## energy
year | month | Prod Energy Req, MWh | Cooling Energy Req, MWh | Cooling Energy Req after CHP adj., MWh | BESS Charging Energy Req, MWh | Total Energy Req, MWh | Solar Output in MWh | Remaining Energy Demand (after Renewables) MWh | Gas Generator Potential Failures | Gas Generator failures mitigated | Gas Generator Unavailability, hrs | Gas Generator Output in MWh | HFO Generator Potential Failures | HFO Generator failures mitigated | HFO Generator Unavailability, hrs | HFO Generator Output in MWh | HFO+Gas Generator Potential Failures | HFO+Gas Generator failures mitigated | HFO+Gas Generator Unavailability, hrs | HFO+Gas Gen, Energy from HFO, MWh | HFO+Gas Gen, Energy from Gas, MWh | Grid Potential Failures | Grid failures mitigated | Grid Unavailability, hrs | Grid Peak Energy, MWh | Grid Off Peak Energy, MWh | Diesel Generator Output in MWh | Final Unserved Energy Req in MWh
1 | 1 | 1391.6667 | 202.895 | 0 | 0 | 1391.6667 | 300.8736 | 1090.7931 | 1 | 0 | 48 | 1090.7931 | 1 | 0 | 48 | 0 | 1 | 0 | 48 | 0 | 0 | 3 | 0 | 11.01 | 0 | 0 | 0 | 0
1 | 2 | 1410.7143 | 199.92 | 0 | 0 | 1410.7143 | 293.632 | 1117.0823 | 0 | 0 | 0 | 1117.0823 | 1 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 11.01 | 0 | 0 | 0 | 0
1 | 3 | 1259.5238 | 442.68 | 160.3304 | 0 | 1419.8543 | 336.1888 | 1083.6655 | 1 | 0 | 48 | 1083.6655 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 7.34 | 0 | 0 | 0 | 0
1 | 4 | 1394.0476 | 428.4 | 154.1421 | 0 | 1548.1897 | 319.3248 | 1228.8649 | 1 | 0 | 48 | 1228.8649 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 11.01 | 0 | 0 | 0 | 0
1 | 5 | 1260.7143 | 442.68 | 157.7289 | 0 | 1418.4432 | 313.2736 | 1105.1696 | 0 | 0 | 0 | 1105.1696 | 0 | 0 | 0 | 0 | 1 | 0 | 48 | 0 | 0 | 3 | 0 | 11.01 | 0 | 0 | 0 | 0
1 | 6 | 1282.1429 | 428.4 | 150.3161 | 0 | 1432.459 | 271.1136 | 1161.3454 | 0 | 0 | 0 | 1161.3454 | 1 | 0 | 48 | 0 | 1 | 0 | 48 | 0 | 0 | 3 | 0 | 11.01 | 0 | 0 | 0 | 0
1 | 7 | 1309.5238 | 442.68 | 153.3141 | 0 | 1462.8379 | 240.7584 | 1222.0795 | 0 | 0 | 0 | 1222.0795 | 1 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 14.68 | 0 | 0 | 0 | 0
1 | 8 | 1258.3333 | 442.68 | 154.359 | 0 | 1412.6923 | 255.6384 | 1157.0539 | 1 | 0 | 48 | 1157.0539 | 1 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 18.35 | 0 | 0 | 0 | 0
1 | 9 | 1352.381 | 428.4 | 152.5523 | 0 | 1504.9332 | 292.3424 | 1212.5908 | 0 | 0 | 0 | 1212.5908 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 14.68 | 0 | 0 | 0 | 0
1 | 10 | 1366.6667 | 442.68 | 159.264 | 0 | 1525.9306 | 318.8288 | 1207.1018 | 0 | 0 | 0 | 1207.1018 | 0 | 0 | 0 | 0 | 1 | 0 | 48 | 0 | 0 | 4 | 0 | 14.68 | 0 | 0 | 0 | 0
1 | 11 | 1279.7619 | 178.5 | 0 | 0 | 1279.7619 | 286.5888 | 993.1731 | 0 | 0 | 0 | 993.1731 | 1 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 18.35 | 0 | 0 | 0 | 0
1 | 12 | 1428.5714 | 184.45 | 0 | 0 | 1428.5714 | 285.1008 | 1143.4706 | 0 | 0 | 0 | 1143.4706 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 18.35 | 0 | 0 | 0 | 0

## capex
year | Solar CAPEX, M PKR | Gas Generator CAPEX, M PKR | HFO Generator CAPEX, M PKR | HFO+Gas Generator CAPEX, M PKR | Grid CAPEX, M PKR | Diesel Generator CAPEX, M PKR | BESS CAPEX, M PKR
0 | 200 | 100 | 0 | 0 | 10 | 0 | 0
1 | 0 | 0 | 264 | 297 | 0 | 44 | 0
2 | 0 | 203 | 0 | 0 | 0 | 48 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 224
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## opex
year | month | Solar Depreciation Cost, M PKR | Solar Fixed Opex, M PKR | Gas Generator Depreciation Cost, M PKR | Gas Generator Fixed Opex, M PKR | Gas Generator Var OPEX, M PKR | Fuel Charges for NG, M PKR | HFO Generator Depreciation Cost, M PKR | HFO Generator Fixed Opex, M PKR | HFO Generator Var OPEX, M PKR | Fuel Charges for HFO, M PKR | HFO+Gas Generator Depreciation Cost, M PKR | HFO+Gas Generator Fixed Opex, M PKR | HFO+Gas Generator Var OPEX, M PKR | Fuel Charges for RLNG, M PKR | Grid Fixed Opex, M PKR | Grid Peak Rate Energy Cost, M PKR | Grid Nonpeak Rate Energy Cost, M PKR | Diesel Generator Depreciation Cost, M PKR | Diesel Generator Fixed Opex, M PKR | Diesel Generator Var OPEX, M PKR | Fuel Charges for Diesel, M PKR | BESS Depreciation Cost, M PKR | BESS Fixed Opex, M PKR | Loss due to Interruptions, M PKR | Loss due to Outage, M PKR
1 | 1 | 1.1111 | 0.385 | 0.69444 | 0.33 | 4.6115 | 0.037467 | 1.8333 | 0.33 | 0 | 0 | 2.0625 | 0.4125 | 0 | 0 | 2.277 | 0 | 0 | 0.36667 | 0.165 | 0 | 0 | 0 | 0 | 21 | 38.7525
1 | 2 | 1.1111 | 0.385 | 0.69444 | 0.33 | 4.528 | 0.036788 | 1.8333 | 0.33 | 0 | 0 | 2.0625 | 0.4125 | 0 | 0 | 2.277 | 0 | 0 | 0.36667 | 0.165 | 0 | 0 | 0 | 0 | 14 | 14.7525
1 | 3 | 1.1111 | 0.385 | 0.69444 | 0.33 | 4.2004 | 0.034126 | 1.8333 | 0.33 | 0 | 0 | 2.0625 | 0.4125 | 0 | 0 | 2.277 | 0 | 0 | 0.36667 | 0.165 | 0 | 0 | 0 | 0 | 10.5 | 13.835
1 | 4 | 1.1111 | 0.385 | 0.69444 | 0.33 | 4.7735 | 0.038783 | 1.8333 | 0.33 | 0 | 0 | 2.0625 | 0.4125 | 0 | 0 | 2.277 | 0 | 0 | 0.36667 | 0.165 | 0 | 0 | 0 | 0 | 14 | 14.7525
1 | 5 | 1.1111 | 0.385 | 0.69444 | 0.33 | 4.4821 | 0.036415 | 1.8333 | 0.33 | 0 | 0 | 2.0625 | 0.4125 | 0 | 0 | 2.277 | 0 | 0 | 0.36667 | 0.165 | 0 | 0 | 0 | 0 | 14 | 14.7525
1 | 6 | 1.1111 | 0.385 | 0.69444 | 0.33 | 4.8832 | 0.039674 | 1.8333 | 0.33 | 0 | 0 | 2.0625 | 0.4125 | 0 | 0 | 2.277 | 0 | 0 | 0.36667 | 0.165 | 0 | 0 | 0 | 0 | 17.5 | 26.7525
1 | 7 | 1.1111 | 0.385 | 0.69444 | 0.33 | 4.9463 | 0.040187 | 1.8333 | 0.33 | 0 | 0 | 2.0625 | 0.4125 | 0 | 0 | 2.277 | 0 | 0 | 0.36667 | 0.165 | 0 | 0 | 0 | 0 | 17.5 | 15.67
1 | 8 | 1.1111 | 0.385 | 0.69444 | 0.33 | 4.7101 | 0.038267 | 1.8333 | 0.33 | 0 | 0 | 2.0625 | 0.4125 | 0 | 0 | 2.277 | 0 | 0 | 0.36667 | 0.165 | 0 | 0 | 0 | 0 | 24.5 | 28.5875
1 | 9 | 1.1111 | 0.385 | 0.69444 | 0.33 | 4.725 | 0.038388 | 1.8333 | 0.33 | 0 | 0 | 2.0625 | 0.4125 | 0 | 0 | 2.277 | 0 | 0 | 0.36667 | 0.165 | 0 | 0 | 0 | 0 | 14 | 3.67
1 | 10 | 1.1111 | 0.385 | 0.69444 | 0.33 | 4.8887 | 0.039718 | 1.8333 | 0.33 | 0 | 0 | 2.0625 | 0.4125 | 0 | 0 | 2.277 | 0 | 0 | 0.36667 | 0.165 | 0 | 0 | 0 | 0 | 17.5 | 15.67
1 | 11 | 1.1111 | 0.385 | 0.69444 | 0.33 | 4.0792 | 0.033141 | 1.8333 | 0.33 | 0 | 0 | 2.0625 | 0.4125 | 0 | 0 | 2.277 | 0 | 0 | 0.36667 | 0.165 | 0 | 0 | 0 | 0 | 21 | 16.5875
1 | 12 | 1.1111 | 0.385 | 0.69444 | 0.33 | 4.473 | 0.036341 | 1.8333 | 0.33 | 0 | 0 | 2.0625 | 0.4125 | 0 | 0 | 2.277 | 0 | 0 | 0.36667 | 0.165 | 0 | 0 | 0 | 0 | 17.5 | 4.5875

## emissions
year | month | CO2 Emissions from Gas Generator, MT | CO2 Emissions from HFO Generator, MT | CO2 Emissions from HFO+Gas Generator, MT | CO2 Emissions from Diesel Generator, MT | CO2 Emissions from Grid, MT
1 | 1 | 203.6265 | 0 | 0 | 0 | 0
1 | 2 | 199.9357 | 0 | 0 | 0 | 0
1 | 3 | 185.4709 | 0 | 0 | 0 | 0
1 | 4 | 210.7787 | 0 | 0 | 0 | 0
1 | 5 | 197.9105 | 0 | 0 | 0 | 0
1 | 6 | 215.6204 | 0 | 0 | 0 | 0
1 | 7 | 218.4091 | 0 | 0 | 0 | 0
1 | 8 | 207.9787 | 0 | 0 | 0 | 0
1 | 9 | 208.636 | 0 | 0 | 0 | 0
1 | 10 | 215.8629 | 0 | 0 | 0 | 0
1 | 11 | 180.1189 | 0 | 0 | 0 | 0
1 | 12 | 197.5095 | 0 | 0 | 0 | 0